## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | time | preferred_values | lower_values | upper_values
19 | G_U20-2_01_324_01 | 0.12959 | 0.0040611 | 0.0013041 | 0.003846 | 103.0773 | 0.0032911 | 0.00069465 | 0.0032242 | 9.963 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12959 | 0.0040611 | 0.13277 | 0.002725 | -0.046909 | 0.0030445 | SupCrit | 103.311 | 0.0032242 | 1285.3473 | 0.0027963 | 552.8656 | 1285.3473 | 867.8586 | 0.57486 | 2.1811 | 0.68394 | 1.1497 | Flagged Warnings: | 1388.6583 | 0.001605 | 975.3357 | 1388.6583 | 1279.431 | 0.50801 | 0 | 2.5479 | 0.54471 | 1.016 | Flagged Warnings: | 1265.1482 | 99.5557 | 0.90801 | 1410.0174 | 135.9523 | 0.57675 | [9 empty] | 1.1519 | 1.1543 | 0.1746 | 0.0020796 | 1.2034 | 1.1964 | 0.20665 | 0.0010417 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:48:31 PM | 49711 | 1150.6246 | 245.2865 | 158.8148 | PseudoVoigtModel | [5 empty] | 0.11423 | 49711 | 0.99774 | 0.99773 | 0.99775
20 | G_U20-2_01_324_02 | 0.11625 | 0.0041111 | 0.0015145 | 0.003822 | 103.0436 | 0.0038223 | 0.00068405 | 0.0037691 | 10.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11625 | 0.0041111 | 0.11929 | 0.002835 | -0.071383 | 0.0033823 | SupCrit | 103.2772 | 0.0037691 | 1285.4363 | 0.0033682 | 694.4501 | 1285.4363 | 1023.4762 | 0.56544 | 3.551 | 0.56856 | 1.1309 | Flagged Warnings: | 1388.7135 | 0.0016915 | 1251.7837 | 1388.7135 | 1566.7854 | 0.49679 | 0 | 3.4282 | 0.48099 | 0.99358 | Flagged Warnings: | 1265.2457 | 104.7532 | 0.68589 | 1410.0933 | 160.0471 | 0.60313 | [9 empty] | 1.2257 | 1.229 | 0.25525 | 0.0016285 | 1.1564 | 1.1378 | 0.15535 | 0.00079373 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:00:43 PM | 50443 | [10 empty] | 50443 | 0.99774 | 0.99773 | 0.99775
26 | G_U20-2_10_42_01 | 0.060401 | 0.0055917 | 0.0040834 | 0.0038201 | 102.9027 | 0.010305 | 0.00065394 | 0.010308 | 10.031 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.060401 | 0.0055917 | 0.063296 | 0.004728 | -0.17643 | 0.0080772 | SupCrit | 103.1358 | 0.010308 | 1285.8004 | 0.0087292 | 163.7513 | 1285.8004 | 198.8326 | 0.53451 | 2.1147 | 0.19495 | 1.069 | Flagged Warnings: | 1388.9361 | 0.005482 | 297.4758 | 1388.9361 | 324.1504 | 0.42762 | 0 | 2.1556 | 0.51046 | 0.85524 | Flagged Warnings: | [15 empty] | 1.1379 | 1.129 | 0.14745 | 0.0065283 | 1.192 | 1.2638 | 0.16421 | 0.002875 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:40:00 PM | 52800 |  |  |  |  | 1081.3252 | 261.336 | 335.7708 | Spline | 0.4997 |  | 52800 | 0.99774 | 0.99773 | 0.99775