## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | time | preferred_values | lower_values | upper_values
19 | G_U20-2_01_324_01 | 0.12959 | 0.0040611 | 0.0013041 | 0.003846 | 103.0773 | 0.0032911 | 0.00069465 | 0.0032242 | 9.963 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12959 | 0.0040611 | 0.13277 | 0.002725 | -0.046909 | 0.0030445 | SupCrit | 103.311 | 0.0032242 | 1285.3473 | 0.0027963 | 552.8656 | 1285.3473 | 867.8586 | 0.57486 | 2.1811 | 0.68394 | 1.1497 | Flagged Warnings: | 1388.6583 | 0.001605 | 975.3357 | 1388.6583 | 1279.431 | 0.50801 | 0 | 2.5479 | 0.54471 | 1.016 | Flagged Warnings: | 1265.1482 | 99.5557 | 0.90801 | 1410.0174 | 135.9523 | 0.57675 | [9 empty] | 1.1519 | 1.1543 | 0.1746 | 0.0020796 | 1.2034 | 1.1964 | 0.20665 | 0.0010417 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:48:31 PM | 49711 | 1150.6246 | 245.2865 | 158.8148 | PseudoVoigtModel | [5 empty] | 0.11423 | 49711 | 0.99774 | 0.99773 | 0.99775
20 | G_U20-2_01_324_02 | 0.11625 | 0.0041111 | 0.0015145 | 0.003822 | 103.0436 | 0.0038223 | 0.00068405 | 0.0037691 | 10.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11625 | 0.0041111 | 0.11929 | 0.002835 | -0.071383 | 0.0033823 | SupCrit | 103.2772 | 0.0037691 | 1285.4363 | 0.0033682 | 694.4501 | 1285.4363 | 1023.4762 | 0.56544 | 3.551 | 0.56856 | 1.1309 | Flagged Warnings: | 1388.7135 | 0.0016915 | 1251.7837 | 1388.7135 | 1566.7854 | 0.49679 | 0 | 3.4282 | 0.48099 | 0.99358 | Flagged Warnings: | 1265.2457 | 104.7532 | 0.68589 | 1410.0933 | 160.0471 | 0.60313 | [9 empty] | 1.2257 | 1.229 | 0.25525 | 0.0016285 | 1.1564 | 1.1378 | 0.15535 | 0.00079373 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:00:43 PM | 50443 | [10 empty] | 50443 | 0.99774 | 0.99773 | 0.99775
23 | G_U20-2_03_52_01 | 0.076645 | 0.005606 | 0.0041178 | 0.0038041 | 102.9437 | 0.010392 | 0.00066947 | 0.010394 | 10.018 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.076645 | 0.005606 | 0.07951 | 0.0047662 | -0.14544 | 0.0080495 | SupCrit | 103.1769 | 0.010394 | 1285.662 | 0.0094721 | 266.9984 | 1285.662 | 386.1904 | 0.52418 | 2.9682 | 0.70891 | 1.0484 | Flagged Warnings: | 1388.839 | 0.0042798 | 462.1044 | 1388.839 | 527.6502 | 0.44271 | 0 | 2.9185 | 0.54165 | 0.88542 | Flagged Warnings: | 1265.5207 | 42.3724 | 0.68492 | 1410.2182 | 69.1214 | 0.64028 | [9 empty] | 1.1309 | 1.1505 | 0.1372 | 0.0039265 | 1.2105 | 1.2164 | 0.1864 | 0.0019161 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:18:20 PM | 51500 | [10 empty] | 51500 | 0.99774 | 0.99773 | 0.99775
26 | G_U20-2_10_42_01 | 0.060401 | 0.0055917 | 0.0040834 | 0.0038201 | 102.9027 | 0.010305 | 0.00065394 | 0.010308 | 10.031 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.060401 | 0.0055917 | 0.063296 | 0.004728 | -0.17643 | 0.0080772 | SupCrit | 103.1358 | 0.010308 | 1285.8004 | 0.0087292 | 163.7513 | 1285.8004 | 198.8326 | 0.53451 | 2.1147 | 0.19495 | 1.069 | Flagged Warnings: | 1388.9361 | 0.005482 | 297.4758 | 1388.9361 | 324.1504 | 0.42762 | 0 | 2.1556 | 0.51046 | 0.85524 | Flagged Warnings: | [15 empty] | 1.1379 | 1.129 | 0.14745 | 0.0065283 | 1.192 | 1.2638 | 0.16421 | 0.002875 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:40:00 PM | 52800 |  |  |  |  | 1081.3252 | 261.336 | 335.7708 | Spline | 0.4997 |  | 52800 | 0.99774 | 0.99773 | 0.99775
3 | G_U20-1_15_24_01 | 0.24106 | 0.0048603 | 0.0042493 | 0.0023593 | 103.3429 | 0.010239 | 0.00061429 | 0.010243 | 9.995 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23483 | 0.0059285 | 0.24106 | 0.0048603 | 0.13759 | 0.0070599 | SupCrit | 103.5766 | 0.010243 | 1284.7058 | 0.009354 | 295.5665 | 1284.7058 | 619.1316 | 0.75882 | 3.5441 | 0.70977 | 1.5176 | Flagged Warnings: | 1388.2825 | 0.0041747 | 578.3288 | 1388.2825 | 949.9083 | 0.60112 | 0 | 3.666 | 0.68534 | 1.2022 | Flagged Warnings: |  |  |  | 1409.7324 | 79.9469 | 0.74009 | [9 empty] | 1.0335 | 1.1287 | 0.050814 | 0.0051347 | 1.229 | 1.2435 | 0.27529 | 0.0020788 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:40:55 PM | 60055 | [10 empty] | 60055 | 0.99774 | 0.99774 | 0.99775
8 | G_U20-1_23_32_01 | 0.034634 | 0.0044989 | 0.0022896 | 0.0038727 | 102.8377 | 0.0057784 | 0.00062089 | 0.0057579 | 9.981 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034634 | 0.0044989 | 0.037679 | 0.0033169 | -0.22633 | 0.0048934 | SupCrit | 103.0701 | 0.0057579 | 1285.9211 | 0.0047341 | 319.5894 | 1285.9212 | 358.5391 | 0.47907 | 2.0096 | 0.282 | 0.95813 | Flagged Warnings: | 1388.9913 | 0.0032775 | 541.4656 | 1388.9913 | 546.4218 | 0.40219 | 0 | 2.3811 | 0.47012 | 0.80438 | Flagged Warnings: | 1265.6438 | 34.3549 | 0.45415 | 1410.2722 | 53.365 | 0.50312 | [9 empty] | 1.2055 | 1.2091 | 0.19688 | 0.002998 | 1.0837 | 1.125 | 0.067312 | 0.0014856 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:43:43 PM | 63823 | [10 empty] | 63823 | 0.99774 | 0.99774 | 0.99775
9 | G_U20-1_23_32_02 | 0.034684 | 0.0049543 | 0.0030901 | 0.0038726 | 102.8378 | 0.0077986 | 0.000623 | 0.0077912 | 10.024 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034684 | 0.0049543 | 0.037728 | 0.0039037 | -0.22624 | 0.0063551 | SupCrit | 103.0702 | 0.0077912 | 1285.9299 | 0.0065761 | 222.1098 | 1285.9299 | 246.6216 | 0.47199 | 2.3228 | 0.29482 | 0.94398 | Flagged Warnings: | 1389.0002 | 0.0041784 | 353.9844 | 1389.0001 | 363.7223 | 0.41001 | 0 | 1.901 | 0.46693 | 0.82002 | Flagged Warnings: |  |  |  | 1410.2622 | 46.3362 | 0.45175 | [9 empty] | 1.2091 | 1.2125 | 0.19735 | 0.0042501 | 1.0744 | 1.1069 | 0.060993 | 0.0023165 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:49:54 PM | 64194 | [10 empty] | 64194 | 0.99774 | 0.99774 | 0.99775
18 | G_U20-1_n02_49_01 | 0.065405 | 0.0045693 | 0.0025169 | 0.0038137 | 102.9153 | 0.0063518 | 0.00062648 | 0.0063352 | 9.979 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.065405 | 0.0045693 | 0.068286 | 0.0034768 | -0.16685 | 0.0051944 | SupCrit | 103.1479 | 0.0063352 | 1285.673 | 0.0058817 | 252.269 | 1285.673 | 332.7178 | 0.52235 | 1.9686 | 0.48653 | 1.0447 | Flagged Warnings: | 1388.821 | 0.0023536 | 431.6216 | 1388.821 | 502.8035 | 0.46897 | 0 | 1.6854 | 0.44355 | 0.93795 | Flagged Warnings: |  |  |  | 1410.1557 | 59.1642 | 0.47542 | [9 empty] | 1.138 | 1.1418 | 0.14422 | 0.0041413 | 1.1745 | 1.1789 | 0.16367 | 0.0021731 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:57:50 PM | 64670 | 1150.7738 | 170.9049 | 95.6456 | PseudoVoigtModel | [5 empty] | 0.20455 | 64670 | 0.99774 | 0.99774 | 0.99775
10 | G_U20-1_26_53_01 | 0.11703 | 0.0049079 | 0.0030774 | 0.0038231 | 103.0456 | 0.0077666 | 0.00063124 | 0.0077584 | 10.007 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11703 | 0.0049079 | 0.12007 | 0.0039176 | -0.069944 | 0.0059815 | SupCrit | 103.2785 | 0.0077584 | 1285.4242 | 0.0035294 | 509.1924 | 1285.4243 | 758.244 | 0.56336 | 2.3543 | 0.60388 | 1.1267 | Flagged Warnings: | 1388.7028 | 0.0069091 | 926.3152 | 1388.7028 | 1158.0499 | 0.49515 | 0 | 3.9911 | 0.48655 | 0.9903 | Flagged Warnings: | 1265.1023 | 84.8631 | 0.73343 | 1410.043 | 120.6368 | 0.66816 | [9 empty] | 1.2212 | 1.2135 | 0.24921 | 0.0022128 | 1.1867 | 1.1739 | 0.18486 | 0.0010691 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 6:07:09 PM | 65229 | [10 empty] | 65229 | 0.99774 | 0.99774 | 0.99775
11 | G_U20-1_26_53_02 | 0.12252 | 0.0044744 | 0.0023097 | 0.0038322 | 103.0595 | 0.005829 | 0.00063526 | 0.0058074 | 9.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12252 | 0.0044744 | 0.12562 | 0.0033379 | -0.059849 | 0.0046456 | SupCrit | 103.2924 | 0.0058074 | 1285.3575 | 0.00528 | 391.2162 | 1285.3575 | 595.2112 | 0.58361 | 3.2666 | 0.56885 | 1.1672 | Flagged Warnings: | 1388.6499 | 0.0024182 | 712.0302 | 1388.6498 | 877.194 | 0.48698 | 0 | 2.7094 | 0.49177 | 0.97396 | Flagged Warnings: |  |  |  | 1410.0042 | 110.5571 | 0.64392 | [9 empty] | 1.149 | 1.1438 | 0.17391 | 0.0029836 | 1.2014 | 1.2005 | 0.19617 | 0.0013679 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:15:31 PM | 65731 | [10 empty] | 65731 | 0.99775 | 0.99774 | 0.99775
12 | G_U20-1_30_107_01 | 0.11214 | 0.24169 | 0.24166 | 0.0038164 | 103.0333 | 0.60988 | 0.0006404 | 0.61126 | 10.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11214 | 0.24169 | 0.11514 | 0.24628 | -0.078968 | 0.44674 | SupCrit | 103.2661 | 0.61126 | 1285.4338 | 0.61126 | 1291.659 | 1285.4338 | 1862.8399 | 0.5751 | 16.1405 | 0.46862 | 1.1502 | Flagged Warnings: | 1388.7 | 0.0013413 | 2359.979 | 1388.6999 | 2922.4263 | 0.49194 | 0 | 4.2706 | 0.47867 | 0.98388 | Flagged Warnings: | 1265.2934 | 70.1083 | 0.47417 | 1410.0328 | 321.3813 | 0.60303 | [9 empty] | 1.3846 | inf | 0.44239 | 0.00089049 | 1.1913 | 1.1778 | 0.18819 | 0.0004169 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:25:46 PM | 66346 | 1150.6965 | 690.9103 | 344.0425 | PseudoVoigtModel | [5 empty] | 0.14438 | 66346 | 0.99775 | 0.99774 | 0.99775
16 | G_U20-1_38_44_01 | 0.11598 | 0.0043776 | 0.0021351 | 0.0038216 | 103.043 | 0.0053883 | 0.00064872 | 0.0053612 | 9.965 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11598 | 0.0043776 | 0.11901 | 0.003216 | -0.071877 | 0.0043749 | SupCrit | 103.2758 | 0.0053612 | 1285.3784 | 0.0047197 | 894.2813 | 1285.3784 | 1404.5429 | 0.56936 | 5.4923 | 0.70832 | 1.1387 | Flagged Warnings: | 1388.6543 | 0.002543 | 1619.964 | 1388.6542 | 2036.9349 | 0.4982 | 0 | 6.05 | 0.48561 | 0.9964 | Flagged Warnings: | 1265.1422 | 154.1328 | 0.84007 | 1410.0187 | 233.5763 | 0.58706 | [9 empty] | 1.2143 | 1.2076 | 0.24401 | 0.0012733 | 1.2049 | 1.2021 | 0.20412 | 0.00061508 | PseudoVoigtModel | PseudoVoigtModel | No | November 18, 2025 | November | 18 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:40:04 PM | 67204 | 1150.6354 | 310.5057 | 191.0188 | PseudoVoigtModel | [5 empty] | 0.090225 | 67204 | 0.99775 | 0.99774 | 0.99775